2-Sensitivity (without the collimator) (SEMINSE e.cam) ;( quarterly)

It’s defined as;

- A sensitivity phantom is made by eluting a 3.284mci of Tc-99m, then dissolve in normal saline in a petry dish.

- Measuring the count rate under each detector at different positions”central, lateral”, here we made it for detector 1 only.

- Measure the sensitive by applying the equation mentioned above.

- Compare the result with a reference reading.